Exterior Building Inspection

Date:____________________		Location:______________________________________

Person(s) Conducting the Survey:__________________________________________________

| Roof |  |  |
| --- | --- | --- |
| Condition |  | Recommendation |
| Are there any tears, loose roofing material, obvious damage, pooling or signs of leaks? | Yes No |  |
| Is the roof clean, no moss or debris build up? | Yes No |  |
| Are flashing, curbs, control joints and penetrations in good conditions, attached and sealed? | Yes No |  |
| Are drains, scuppers and gutters clean and well attached? | Yes No |  |
| Are walking paths to mechanical units defined? | Yes No |  |
| Are utility lines – pipe and conduit damage free and well supported? | Yes No |  |
| Is roof access secured (both internal and external)? | Yes No |  |
| Are other roof components – skylights, mechanical housing, custom items (i.e. antenna) damage free? Is flashing secure and well caulked? | Yes No |  |
| Are masonry chimneys – mortar in good condition? Are there signs of movement? | Yes No |  |
| Exterior Walls |  |  |
| Condition |  | Recommendation |
| Are there visible cracks, peeling paint or vegetation, moss or mold growth? Is siding well attached and no signs of rot? Are there holes or other damage? | Yes No |  |
| Is mortar in good shape with no significant cracks or vegetation? Are there loose masonry components? Are weep holes clean and open? | Yes No |  |
| Are walls squarely on foundation and no cracks in foundation? Are window wells clean and sealed? | Yes No |  |
| Are there overhanging trees? Is shrubbery trimmed to 3’ or less? Are vents unobstructed and openings protected with mesh? Are trees trimmed to 7’ or higher? | Yes No |  |

| Condition |  | Recommendation |
| --- | --- | --- |
| Are all penetrations well sealed? | Yes No |  |
| Are there holes or signs of rot in eaves and fascia? | Yes No |  |
| Are there leaks, signs of damage, etc. on covered walkways, porches, other exterior building connections? Are all fascia, eaves, gutters, downspouts in good condition? | Yes No |  |
| Are there visible holes or serious damage on EFIS or stucco? | Yes No |  |
| Are atriums glad and doors well sealed? Is there water intrusion? | Yes No |  |
| Are expansion joints intact? | Yes No |  |
| Are balconies, canopies, awnings, breezeways and covered walkways securely attached? Is there water intrusion inside the building? Are there signs of damage or rot? Are gutters and downspouts in place and clean? | Yes No |  |
| Are foundation drains open and clean? Are basement windows secured with grate? | Yes No |  |
| Doors and Windows |  |  |
| Condition |  | Recommendation |
| Are all frames well caulked and free of damaged? | Yes No |  |
| Are sweeps and closers in place on all doors? | Yes No |  |
| Is glass in windows intact, no cracks or broken windows? Are all drain holes open? | Yes No |  |
| Are curtain walls intact? | Yes No |  |
| Are shading devices well attached and damage free? | Yes No |  |