Winter Weather Preparedness

Date:____________________		Location:______________________________________

Person(s) Conducting the Survey:__________________________________________________

Severe winter weather can lead to property damage, employee illness or injury. The following checklist will help you identify the areas of your schools that are most susceptible to winter hazards.

| Before the Storm |  |  |
| --- | --- | --- |
| Condition |  | Recommendation |
| Has an emergency communication plan been developed? | Yes No |  |
| Is all business and vendors (Plumbing, HVAC) contracts and contact information on hand? | Yes No |  |
| Is there a procedure for restoring electrical services? Does it involve IT? | Yes No |  |
| Is there a disaster supply kit: ice melt, sand, snow shovels, utility shut-off tools? | Yes No |  |
| Are portable heaters or other emergency equipment needed? | Yes No |  |
| Are all openings sealed with caulking and insulation where cold air can enter? | Yes No |  |
| Have all walls and roofs been repaired to prevent drafts? Have roof drains, gutters and downspouts been inspected and cleaned of all debris? | Yes No |  |
| Is heating and heat-producing process equipment in good condition and operating efficiently? | Yes No |  |
| Has snow removal from driveways, doorways, and roofs been arranged? Consider having contracts in place before winter. | Yes No |  |
| Has a plan for days in which staff are unable to come into work established? | Yes No |  |
| Has all exterior equipment been winterized (drain and shut off hose bibs and irrigation)? | Yes No |  |
| Has cold weather equipment been tested? | Yes No |  |
| Have boilers and firing mechanism/controls been cleaned and inspected? | Yes No |  |
| Is the Uninterrupted Power Source (UPS) in place to protect equipment from a power surge? | Yes No |  |

| Condition |  | Recommendation |
| --- | --- | --- |
| Is automatic sprinkler protection in idle buildings regularly maintained? | Yes No |  |
| Is there adequate anti-freeze in exterior wet sprinkler systems? | Yes No |  |
| Are building temperatures, especially in hard-to-heat areas containing vulnerable equipment, regularly monitored? Keep temperatures above 50 F. | Yes No |  |
| During the Storm |  |  |
| Condition |  | Recommendation |
| Have you listened to local news and weather channels for situation developments and road closures? | Yes No |  |
| Have heaters, snow blowers, generators, and cold-weather equipment been located should they be needed? | Yes No |  |
| Are driveways, walkways, and doorways clear of snow and ice? | Yes No |  |
| Have water faucets been opened slightly to let them drip in order to keep water flowing through the pipes that are vulnerable to freezing? Have outside hose bibs and irrigation been shut off and drained? | Yes No |  |
| Has someone been assigned to check indoor temperatures should the buildings be vacant for long periods of time? | Yes No |  |
| After the Storm |  |  |
| Condition |  | Recommendation |
| Have all staff been fully briefed and informed about any transportation diversions or time changes? | Yes No |  |
| Has a building walk-through (interior & exterior) been completed to check for damage, leaks and defective equipment? | Yes No |  |
| Have all critical people been notified of next steps based on damage? | Yes No |  |
| Has all snow been safely cleared away to prevent flooding and icing? | Yes No |  |
| Are heating systems and water pipes working properly? | Yes No |  |

Know the terms:

- Winter storm watch – be alert, a storm is likely

- Winter storm warning – take action, the storm is in or entering the area

- Blizzard warning – snow and strong winds combined will produce blinding snow, near zero visibility, deep drifts, and life-threatening wind chill – seek refuge immediately!

- Winter weather advisor – winter weather conditions are expected to cause significant inconveniences and may be hazardous, especially to motorists

- Frost/freeze warning – below freezing temperatures are expected and may cause damage to plants, crops, or fruit trees