Irrigation District Safety Survey

Date:____________________		Location:______________________________________

Person(s) Conducting the Survey:__________________________________________________

Total Miles of Ditches___________ Total Miles of Lined/Piped Ditches___________

Total Number of Dams___________ Total Number of Hydro Plants________________

_,

| Lateral Ditch Safety |  |  |
| --- | --- | --- |
| Condition |  | Recommendation |
| Are irrigation ditches lined to prevent erosion and breaching in vulnerable areas? Are the linings inspected annually for damage? | Yes No |  |
| Are signs posted along irrigation ditches stating, “No Swimming” and at major discharge points stating “Danger”? | Yes No |  |
| Is access to equipment such as gates, structures or pumps limited to the public. | Yes No |  |
| Does the District have a ditch burning policy in place? | Yes No |  |
| Are irrigation ditches cleaned regularly to prevent blockage? (debris, plants, roots, etc.) | Yes No |  |
| Is access to irrigation ditches limited to the public? | Yes No |  |
| Are irrigation ditches checked regularly for defects that could lead to flooding? | Yes No |  |
| In locations where an open ditch transitions to pipe, do you have telemetry in place to monitor up and downstream water surface elevation? Are there alarms tied to both the water surface elevation and the differential? | Yes No |  |
| Do ditch riders have life preservers/vests while working near water? | Yes No |  |
| Do you have a signed flood back policy in place to prevent excess tail water on laterals and sub-laterals? | Yes No |  |

| Dam Safety |  |  |
| --- | --- | --- |
| Condition |  | Recommendation |
| Are dams inspected annually? | Yes No |  |
| Is rip-rap on dam faces kept in good condition? | Yes No |  |
| Are emergency spill procedures in place to prevent overtopping of dams? | Yes No |  |
| Are trees and brush removed from earthen dams and dikes? | Yes No |  |
| Are signs posted above and below dam warning of danger? | Yes No |  |
| Is debris cleared from around the dam regularly? | Yes No |  |

| General Irrigation District Safety |  |  |
| --- | --- | --- |
| Condition |  | Recommendation |
| Is access to pump stations and dams kept in good condition? | Yes No |  |
| Is a policy in place for keys used to access district facilities? (checked out, inventoried annually, etc.) | Yes No |  |
| Are site sensitive areas protected by fencing? (major discharges, dams, pump stations, fish screens, telemetry, etc.) | Yes No |  |
| Are security systems in place at site sensitive areas? (cameras, alarms, lights, etc.) | Yes No |  |
| Is automation such as Telemetry inspected regularly and equipped with software security? | Yes No |  |
| Are pesticides and/or herbicides used? If yes, are employees trained on proper use and certified by the appropriate State agency? | Yes No |  |
| Does the District have a hold harmless agreement with water users? | Yes No |  |
| Does the District send out information to water users that states the water is for irrigation only and not safe for potable water purposes? | Yes No |  |
| Does the District have the right to enter land user’s property at any time to inspect and maintain ditches? | Yes No |  |
| Are policies, rules and regulations delivered and signed by each water user? | Yes No |  |
| Do employees receive safety training? | Yes No |  |
| Is PPE provided to employees? (hearing protection, hard hats, eye protection, etc.) | Yes No |  |
| Are NPDES permits obtained before adding any herbicide from a point source that can lead to a navigable water way? | Yes No |  |
| Are employees trained on proper use of equipment prior to use? | Yes No |  |
| Is the general housekeeping in the shop good? (debris off the floor, equipment in good condition, etc.) | Yes No |  |
| Is the equipment in the shop guarded properly? | Yes No |  |
| Are abandoned assets from sites removed to prevent loss? | Yes No |  |
| Are 811 Locates being done to protect district assets? | Yes No |  |
| Is there a water right transfer process and written procedures? | Yes No |  |

| Canal Safety |  |  |
| --- | --- | --- |
| Condition |  | Recommendation |
| Is access to all equipment limited? (pumps, gates, etc.) | Yes No |  |
| Are fish screens inspected at least quarterly? | Yes No |  |
| Are canals inspected in offseason for erosion, repair? | Yes No |  |
| Are measuring devices, gates, structures inspected regularly for damage? | Yes No |  |
| Are pipelines drained and inspected after each water season? | Yes No |  |
| Are canals traveled daily to inspect for problems? | Yes No |  |
| Are canal banks, dams, debris racks, dikes, spillways, etc. kept clear of debris, trees, shrubs, moss? | Yes No |  |
| Are last-chance cables installed above drops, siphons, etc.? | Yes No |  |
| Are water diversions locked in place to prevent inadvertent flow? | Yes No |  |
| Do you have a schedule to clean earthen canals with an excavator or a yearly rotation schedule? | Yes No |  |
| Do you mow canals to prevent excessive vegetation and safe passage on canal roads? | Yes No |  |
| If no Telemetry system is used are measurements taken daily on all canals and documented from the start of laterals to the tail end? | Yes No |  |

| Hydro Plant Safety |  |  |
| --- | --- | --- |
| Condition |  | Recommendation |
| Do you have a lockout tagout policy in place? | Yes No |  |
| Are power plants inspected at least annually? | Yes No |  |
| Are “Danger-High Voltage” signs posted at power plants, high electrical areas? | Yes No |  |
| Is there a protective barrier above dam keeping debris away from power plant? | Yes No |  |
| Are Fire Extinguishers in place and inspected monthly? | Yes No |  |
| Are guards in place and in good condition on Turbines and other motors? | Yes No |  |
| Are transformers in good condition and preventative maintenance being done? | Yes No |  |
| Are Battery Back-Up working properly? Are battery cells at appropriate levels? | Yes No |  |
| Have hydraulic levels been checked, accumulator pressures checked? | Yes No |  |
| Is PPE provided to employees? (hearing protection, hard hats, eye protection, etc.) | Yes No |  |
| Do you provide Arc Flash protection gear? | Yes No |  |
| Does the district have confined spaces in this area? | Yes No |  |
| Does the district have the required confined space equipment? | Yes No |  |
| Are staff properly trained in confined space and conduct practice rescues annually? | Yes No |  |
| Is the hydro plant equipped with SCADA/Telemetry and does it have alarming protocols? | Yes No |  |
| Are all overhead cranes inspected per OR-OSHA and have staff been properly trained? | Yes No |  |